## Motors
NUMBER | NAME | RATING | STARTER
11-MA-001 | TRAMP METAL MAGNET | 18.5 | DOL
11-FE-002 | GRIZZLEY FEEDER | 15 | VSD
11-CV-001 | CV-001 CONVEYOR | 75 | DOL
11-FE-003 | AUTOMATIC LUBE OD MOTOR | 0.27 | DOL
11-CR-001 | JAW CRUSHER | 160 | VSD
11-PP-513 | STOCKPILE DUST SUPPRESSION BOOSTER | 7.5 | DOL
23-PP-028 | SUMP PUMP | 15 | DOL
23-TH-005 | CCD5 THICKNER | 7.5 | DOL
23-PP-215 | COOLING WATER SUPPLY PUMP | 45 | DOL
23-PP-216 | COOLING WATER SUPPLY PUMP | 45 | DOL
16-PP-278 | RENGENTS | 15 | DOL
16-PP-279 | RENGENTS | 15 | DOL
26-AG-015 | REACTOR TANK 15 AGITATOR | 132 | DOL
16-AG-133 | RENGENTS | 15 | DOL
23-PP-170 | TRAIN 2 FEED PUMP | 22 | VSD
23-PP-247 | SPILLAGE POND PUMP | 5.5 | DOL
23-AG-001 | REACTOR TANK 11 AGITATOR | 225 | DOL
23-EQ-001 | EQUIPPED SPARE | 5.5 | DOL
23-AG-023 | REACTOR TANK 23 AGITATOR | 225 | DOL
23-AG-021 | REACTOR TANK 21 AGITATOR | 225 | DOL
23-PP-041 | COOLING WATER SUPPLY PUMP | 315 | DOL
23-AG-022 | REACTOR TANK 22 AGITATOR | 225 | DOL
23-TH-044 | CCD4 THICKNER | 7.5 | DOL
23-C2-002A | BLOWERS COOLING TOWER | 22 | DOL
23-C2-002B | BLOWERS COOLING TOWER (2CO) | 22 | DOL
23-AG-025 | REACTOR TANK 25 AGITATOR | 132 | DOL
23-AG-010 | SURGE TANK 10 AGITATOR | 45 | DOL
23-AG-026 | REACTOR TANK26 AGITATOR | 132 | DOL
23-EQ-012 | EQUIPPED SPARE | 45 | DOL
23-AG-024 | REACTOR TANK 22 AGITATOT | 225 | DOL
23-PP-285 | EQUIPPED SPARE | 22 | DOL
23-PP-228 | TRASH 2 NUTRIENT DOZING PUMP | 1.5 | VSD
23-PP-227 | TRASH 2 NUTRIENT DOZING PUMP | 1.5 | VSD
23-PP-190 | FLOCULANT TRANSFER PUMP | 1.5 | VSD
23-PP-151 | FLOCULANT TRANSFER PUMP | 1.5 | VSD
23-PP-147 | FLOCULANT TRANSFER PUMP | 1.5 | VSD
23-PP-191 | FLOCULANT TRANSFER PUMP | 1.5 | VSD
23-PP-122 | FLOCULANT AREA SUMP PUMP | 2.2 | DOL
23-PP-161 | REACT ARE SUMP PUMP | 15 | DOL
23-EQ-014 | PLANT RUN OFF PUMP | 7.5 | DOL
23-PP-057 | CCP AREA SUMP PUMP | 1.5 | DOL
23-TH-006 | CCP THICKNER | 7.5 | DOL
23-PP-233 | RECIRCULATION PUMP | 22 | DOL
23-PP-168 | TRAIN 1 FEED PUMP | 22 | VSD
23-PP-042 | COOLING WATER SUPPLY PUMP | 315 | DOL
23-C2-001C | COOLONG WATER TOWER | 110 | DOL
23-PP-232 | RECIRCULATION PUMP | 22 | DOL
23-PP-231 | RECIRCULATION PUMP | 22 | DOL
23-SC-037 | TRASH SCREEN | 1.8 | DOL
23-EQ-001 | EQUIPPED SPARE | 18.5 | DOL
23-AG-013 | REACTOR TANK 13 | 225 | DOL
23-PP-150 | FLOCULENT TRANSFER PUMP | 1.5 | VSD
23-AG-041 | REACTOR TANK 14 | 225 | DOL
23-PP-148 | FLOCULENT TRANSFER PUMP | 1.5 | VSD
23-C2-001A | REACTOR COOLING TOWER | 110 | DOL
23-C2-001B | REACTOR COOLING TOWER | 110 | DOL
23-AG-O12 | REACTOR TANK 12 AGITATOR | 225 | DOL
23-EQ-007 | EQUIPPED SPARE | 15 | DOL
23-TH-003 | CCD 3 THICKNER | 7.5 | DOL
32-SA-003 | TANK 10 FEED SAMPLER | 0.6 | DOL
23-PP-200 | GLAND SERVICE PUMP | 1.5 | DOL
23-EQ-013 | EQUIPPED SPARE | 55 | DOL
23-AG-016 | REACTOR TANK 16 AGITATOR | 132 | DOL
23-FL-001 | STREAM FELTER | 30 | DOL
23-AG-141 | REACTOR TANK 141 AGITATOR | 225 | DOL
23-AG-142 | REACTOR TANK 142 AGITATOR | 225 | DOL
23-AG-144 | REACTOR TANK 144 AGITATOR | 225 | DOL
23-PP-276 | TRAIN 4 FEED PUMP | 30 | VSD
23-PP-026 | PRODUCT TRANSFER PUMP 1 | 55 | VSD
23-PP-060 | CCP # 3 OVERFLOW PUMP | 75 | VSD
23-PP-061 | CCP # 3 OVERFLOW PUMP | 75 | VSD
23-PP-029 | PRODUCT TRANSFER PUMP 2 | 55 | VSD
23-PP-227 | TRAIN 4 FEED PUMP | 30 | VSD
23-PP-268 | CCD # 4 UNDERFLOW PUMP | 15 | VSD
23-PP-269 | CCP # 3 UNDERFLOW PUMP | 15 | VSD
23-PP-057 | CCP # 5 UNDERFLOW PUMP | 37 | VSD
23-PP-054 | CCP # 3 UNDERFLOW PUMP | 15 | VSD
23-PP-054 | CCP # 4 UNDERFLOW PUMP | 15 | VSD
23-PP-050 | CCP # 6 UNDERFLOW PUMP | 37 | VSD
23-PP-027 | CCD # 5 UNDERFLOW PUMP | 37 | VSD
23-PP-266 | CCD # 6 UNDERFLOW PUMP | 37 | VSD
23-PP-056 | CCD # 5 OVERFLOW PUMP | 30 | VSD
23-PP-055 | CCD # 6 OVERFLOW PUMP | 37 | VSD
23-PP-057 | CCD # 4 OVERFLOW PUMP | 30 | VSD
23-PP-150 | CCD FLOCCULANT DOZING PMP | 3 | VSD
23-PP-148 | FLOCULANT TRANSFER PUMP | 1.5 | VSD
23-PP-149 | FLOCULANT TRANSFER PUMP | 1.5 | VSD
23-PP-167 | TRAIN 1 FEED PUMP | 22 | VSD
23-PP-169 | TRAIN 2 FEED PUMP 1 | 22 | VSD
23-PP-170 | TARIN 2 FEED PUMP 2 | 22 | VSD
23-PP-171 | TRAIN 3 FEED PUMP 1 | 22 | VSD
23-PP-172 | TRAIN 3 FEED PUMP 2 | 22 | VSD
23-PP-228 | TRAIN 2 NUTRIENT DOZING PUMP | 1.5 | VSD
23-PP-229 | TRAIN 3 NUTRIENT DOZING PUMP | 1.5 | VSD
23-PP-151 | CCD FLOCULANT DOZING PUMP | 3 | VSD
23-PP-149 | CCD FLOCULANT DOZING PUMP 5 | 3 | VSD
23-PP-286 | FLOCULANT TRANSFER PUMP | 1.5 | VSD
23-PP-191 | CCD FLOCULANT DOZING PUMP 3 | 3 | VSD
23-PP-039 | SUMP PUMP | 15 | DOL
23-PP-056 | CCD # 5 OVERFLOW PUMP | 30 | VSD
23-PP-171 | TRAIN 3 FEED PUMP | 22 | VSD
23-PP-172 | TRAIN 3 FEED PUMP | 22 | VSD
23-PP-051 | CCD # 5 UNDERFLOW PUMP | 37 | VSD
23-PP-267 | CCD # 5 UNDERFLOW PUMP | 37 | VSD
23-AG-031 | REACTOR TANK 31 AGITATOR | 225 | DOL
23-AG-032 | REACTOR TANK 32 AGITATOR | 225 | DOL
23-AG-033 | REACTOR TANK 33 AGITATOR | 225 | DOL
23-EQ-026 | EQUIPPED SPARE | 75 | DOL
23-PP-350 |  | 18.5 | DOL
23-PP-262 | COOLING WATER SUPPLY PUMP | 315 | DOL
23-PP-206 | COOLING WATER SUPPLY PUMP | 315 | DOL
23-PP-035 | REACTOR TANK 55 AGITATOR | 225 | DOL
23-AG-034 | REACTOR TANK AGITATOR | 225 | DOL
23-AG-036 | REACTOR TANK AGITATOR | 132 | DOL
23-EQ-024 | EQUIPPED SPARE | 45 | DOL
23-SA-003 | TANK 131 FEED SAMPLER | 0.6 | DOL
23-AG-143 | REACTOR TANK 143 AGITATOR | 225 | DOL
23-PP-055 | CCD # 6 OVERFLOW PUMP | 37 | VSD
23-PP-266 | CCD UNDERFLOW PUMP | 37 | VSD
23-PP-275 | TRAIN 4 AREA SUMP PUMP | 15 | DOL
23-PP-280 | TRAIN 4 AREA SUMP PUMP 1 | 15 | DOL
23-PP-286 | TRAIN 4 NUTRIENTS DOZING PUMP | 1.5 | VSD
23-PP-309 | CONS. SURGE TANK TRANS. PUMP 1 | 30 | DOL
23-AG-145 | REACTOR TANG 145 AGITATOR | 132 | DOL
23-SC-053 | TRASH SCREEN | 1.8 | DOL
23-PP-281 | REACTOR AREA SUMP PUMP TR 2 | 15 | DOL
23-PP-162 | REACTOR AREA SUMP PUMP TR 2 | 15 | DOL
23-AG-146 | REACTOR TANK 146 AGITATOR | 132 | DOL
23-AG-131 | SURGE TANK 131 AGITATOR | 45 | DOL
23-AG-147 | REACTOR TANK 147 AGITATOR | 132 | DOL
23-PP-229 | TRAIN 3 NUTRIENT DOZING PUMP | 15 | VSD
23-EQ-022 | SULPHIDE ACID PUMP | 22 | DOL
23-PP-061 | CCD OVERFLOW PUMP | 75 | VSD
23-PP-040 | TRAIN 3 REACTOR AREA SUMP PUMP | 15 | DOL
23-PP-163 | TRAIN REACTOR AREA SUMP PUMP | 15 | DOL
23-PP-053 | CCD # 4 UNDERFLOW PUMP | 15 | VSD
23-PP-268 | CCD # 4 UNDERFLOW PUMP | 15 | VSD
16-EQ-003 | EQUIPPED SPARE | 11 | DOL
23-PP-197 | NEAT AREA EXT SUMP PUMP | 22 | DOL
16-EQ-001 | FILTER METER | 5.5 | DOL
16-EQ-002 | SILO VIBRATOR (SHED) | 5.5 | DOL
16-PP-198 | LIME SLURRY TO NEW OIL PUMP | 22 | DOL
16-PP-133 | LIMESTONE MILL DISGHARGE PUMP | 22 | VSD
16-PP-131 | LIME TRANSFER PUMP 2 TO SURGE | 30
16-EE-06 | LIME FEEDEER | 4 | VSD
16-FE-02 | LIME SCREEW FEEDER | 3 | VSD
16-PP-132 | LIME TRANSFER PUMP 2 TO SURGE | 30 | VSD
16-PP-134 | LIMESTONE MILL DISCHARGE PUMP | 22 | VSD
27-PP-819 | ACTIFLOW DISCHARGE PUMP | 90 | DOL
27-PP-809 | TRAIN 2 CARBON TRANSFER PUMP | 30 | DOL
27-PP-803 | TRAIN 1 CARBON TRANSFER PUMP | 30 | DOL
23-PP-353 | PLANT RUNOFF PUMP | 75 | DOL
27-PP-842 | RBC FEED PUMP 2 | 37 | DOL
27-PP-845 | RBC FEED PUMP 1 | 37 | DOL
23-PP-358 | PLANT RUNOFF PUMP | 37 | DOL
27-PP-847 | RBC DISPATCH HOPPER TRANSFER | 45 | DOL
27-PP-818 | ACTIFLOW FEED PUMP 2 | 55 | DOL
17-PP-140 | PROC WATER DAM 1B TRANSFER PUMP 2 | 132 | DOL
27-CP-804 | RBC BLOWER DUTY | 110 | DOL
27-CP-805 | RBC BLOWER STANDBY | 110 | DOL
27-CP-801 | RBC BLOWER | 75 | DOL
27-PP-810 | RBC FEED PUMP 1 | 90 | DOL
27-PP-811 | RBC FEED PUMP 2 | 90 | DOL
27-PP-817 | ACTIFLOW FEED PUMP 1 | 55 | DOL
27-PP-820 | ACTIFLOW DISCHARGE PUMP B | 90 | DOL
27-PP-352 | POND # 2 | 37 | DOL
27-RBC-822 | RBC CONTRACTOR 4 | 5 | DOL
27-RBC-851 | RBC CONTRACTOR 9 | 5 | DOL
27-RBC-842 | RBC CONTRACTOR 8 | 5 | DOL
27-RBC-841 | RBC CONTRACTOR 7 | 5 | DOL
27-RBC-832 | RBC CONTRACTOR 6 | 5 | DOL
27-RBC-831 | RBC CONTRACTOR5 | 5 | DOL
27-RBC-872 | RBC CONTRACTOR 14 | 5 | DOL
27-RBC-871 | RBC CONTRACTOR 13 | 5 | DOL
27-RBC-862 | RBC CONTRACTOR 12 | 5 | DOL
27-RBC-861 | RBC CONTRACTOR 11 | 5 | DOL
27-RBC-252 | RBC CONTRACTOR 10 | 5 | DOL
27-RBC-881 | RBC CONTRACTOR 15 | 5 | DOL
27-RBC-882 | RBC CONTRACTOR 16 | 5 | DOL
27-PP-816 | RBC AREA SUMP PUMP | 22 | DOL
27-PP-814 | RBC NUTRIENTS FEED 1 | 7.5 | DOL
27-PP-813 | RBC RECIRCULATION PUMP 2 | 7.5 | DOL
27-PP-812 | RBC RECIRCULATION PUMP 1 | 7.5 | DOL
27-PP-850 | RBC NUTRIENTS TK2 FEED PUMP 2 | 5.5 | DOL
27-PP-849 | RBC NUTRIENTS TK2 FEED PUMP 1 | 5.5 | DOL
27-PP-815 | RBC NUTREIENTS FEED PUMP 2 | 7.5 | DOL
27-PP-853 | EFFLUENT TANK TRANSFER PUMP | 7.5 | DOL
17-PP-139 | PROC WATER DAM 1B TRF. PUMP 1 | 132 | DOL
27-PP-831 | KITP. AREA SUMP PUMP | 22 | DOL
27-PP-802 | CIS AREA SUMP PUMP | 15 | DOL
17-RBC-811 | RBC CONTRACTOR 1 | 5 | DOL
27-RBC-813 | RBC CONTRACTOR 2 | 5 | DOL
27-RBC-821 | RBC CONTRACTOR 3 | 5 | DOL
27-EQ-003 | EQUIPPED SPARE | 7.5 | DOL
11-PP-515 | CRUSHER SHED SUMP PUMP | 22 | DOL
16-CP-25 | LIME DELIVERY BLOWER | 75 | DOL
16-ML-05B | LIME STONE MILL | 55 | DOL
16-ML-05C | LIME STONE MILL | 55 | DOL
16-AT-001 | LIME SILO ACTIVATOR | 1.1 | DOL
16-PP-139 | LIMESTONE TRANSFER PUMP | 11 | DOL
16-ML-05A | LIME STONE MILL | 55 | DOL
16-ML-05D | LIME STONE MILL | 55 | DOL
23-PP-054 | NEUT. AREA SUMP PUMP | 22 | DOL
16-PP-033 | LIME STONE AREA SUMP PUMP | 15 | DOL
16-ML-04B | LIME SLAKING MILL 04B | 37 | DOL
16-ML-04D | LIME SLAKING MILL 04D | 37 | DOL
16-PP-137 | LIME SLURRY TRANSFER PUMP | 15 | DOL
16-PP-138 | LIME SLURRY TRANSFER PUMP | 5.5 | DOL
16-ML-04A | LIME SLAKING MILL | 37 | DOL
16-ML-04C | LIME SLAKING MILL | 37 | DOL
16-PP-224 | LIME SLURRY TRF PUMP | 22 | DOL
16-PP-225 | LIME SLURRY TRF PUMP | 22 | DOL
16-PP-135 | LIME SLURRY TRANSFER PUMP | 15 | DOL
16-PP-130 | LIME STONE AREA SUMP PUMP | 11 | DOL
16-AG-061 | LIME STONE ST. TANK AGITATOR | 15 | DOL
16-EQ-006 | SCRUBBER | 22 | DOL
16-AG-062 | LIME STONE ST. TANK AGITATOR | 30 | DOL
23-PP-295 | NEUT. RECIRCULATION PUMP | 37 | DOL
16-EQ-07 | EQUIPPED SPARE | 30 | DOL
23-PP-065 | NEUT. RECIRCULATION PUMP | 37 | DOL
16-PP-197 | LIME SLURRY TRANSFER PUMP TO CIL | 22 | DOL
23-PP-295 | TK42 CIRCULATION PUMP | 11 | DOL
16-PP-221 | EQUIPPED SPARE | 22 | DOL
27-EQ-001 | EQUIPPED SPARE | 5.5 | DOL
27-EQ-004 | EQUIPPED SPARE | 7.5 | DOL
11-EQ-001 | EQUIPPED SPARE | 5.5 | DOL
27-EQ-006 | EQUIPPED SPARE | 22 | DOL
27-EQ-005 | EQUIPPED SPARE | 11 | DOL
27-EQ-002 | EQUIPPED UBMERSIBLE PUMP | 5.5 | DOL
27-EQ-010 | EQUIPPED SPARE | 45 | DOL
27-EQ-008 | EQUIPPED SPARE | 30 | DOL
23-PP-352 | EFFLUENT SUMP PUMP | 75 | DOL
08-PP-05 | FRONTER DOZING PUMP 1 | 0.024 | DOL
08-PP-06 | FRONTER DOZING PUMP 2 | 0.024 | DOL
08-PP-07 | FRONTER DOZING PUMP 3 | 0.024 | DOL
08-PP-08 | FRONTER DOZING PUMP 4 | 0.024 | DOL
08-PP-09 | PROMOTER DOZING PUMP 1 | 0.55 | DOL
08-PP-10 | PROMOTER DOZING PUMP 2 | 0.55 | DOL
18-AG-01 | FLOATATION FEED SURGE TANK AGITATOR | 30 | DOL
18-AG-02 | FLOATATION CONDITIONER TANK AGITATOR | 30 | DOL
18-PP-16 | FLOATATION FEED SURGE AREA SUMP PUMP | 7.5 | DOL
18-SP-03 |  | 7.5 | DOL
18-PP-11 | PROMOTER DOZING PUMP 3 | 0.55 | DOL
18-PP-12 | PROMOTER DOZING PUMP 4 | 0.055 | DOL
18-AG-03 | ROUGLER FLOATATION 1 AGITATOR | 225 | SS
18-AG-04 | ROUGLER FLOATATION 2 AGITATOR | 225 | SS
18-AG-05 | ROUGLER FLOATATION 3 AGITATOR | 225 | SS
18-AG-06 | SCAVANGER FLOATATION CELL 1 AGITATOR | 225 | SS
18-AG-07 | SCAVANGER FLOATATION CELL 2 AGITATOR | 225 | SS
18-AG-08 | SCAVANGER FLOATATION CELL 3 AGITATOR | 225 | SS
18-AG-09 | SCAVANGER FLOATATION CELL 4 AGITATOR | 225 | SS
19-PP-07 | CIL INTERSTAGE CARBON PUMP | 30 | VSD
19-PP-09 | CIL TAILING PUMP 1 | 30 | VSD
19-PP-10 | CIL TAILING PUMP 2 | 30 | VSD
19-AG-01 | PRE-OXIDATION TANK 1 AGITATION | 55 | DOL
19-PP-12 | CIL ACID WASH PUMP | 5.5 | DOL
19-PP-13 | CIL TRANSFER PUMP 1 | 11 | VSD
19-PP-15 | CIL PULP TRANSFER PUMP | 7.5 | DOL
19-AG-02 | PRE-OXIDATION TANK 2 AGITATOR | 55 | DOL
19-AG-03 | PRE-OXIDATION TANK 3 AGITATOR | 55 | DOL
19-PC-05 | TEMPORARY TOWER CRANE | 7.5 | DOL
19-PP-36 |  | 11 | DOL
19-PP-17 | CIL AREA SUMP PUMP 2 | 11 | DOL
19-PP-18 | CIL PREOXIDATION AREA SUMP PUMP | 11 | DOL
19-PP-19 | CIL ACID AREA SUMP PUMP | 5.5 | DOL
19-AG-04 | CIL TANK 1 AGITATOR | 55 | DOL
19-SA-01 | CIL FEED SAMPLER | 0.74
18-SA-05 | FINAL CONCENTRATE SAMPLER | 0.74
19-AG-05 | CIL TANK 2 AGITATOR | 55 | DOL
19-AG-06 | CIL TANK 3 AGITATOR | 55 | DOL
19-SC-01A & 01B | CIL LOADED CARBON SCREEN | 3.74 | DOL
19-PP-01 | CIL INTERSTAGE CARBON PUMP 1 | 7.5 | DOL
19-PP-02 | CIL INTERSTAGE CARBON PUMP 2 | 7.5 | DOL
19-AG-07 | CIL TANK 4 AGITATOR | 55 | DOL
19-SC-02A & 02B | CIL CARBON SAFETY SCREEN 1 | 3.74 | DOL
19-PP-03 | CIL INTERSTAGE CARBON PUMP 3 | 7.4 | DOL
19-PP-04 | CIL INTERSTAGE CARBON PUMP 4 | 7.5 | DOL
19-AG-08 | CIL TANK 5 AGITATOR | 55 | DOL
19-SC-03A & 02B | CIL TAILING CARBON SAFETY SCREEN | 3.74 | DOL
19-PP-05 | CIL INTERSTAGE CARBON PUMP 5 | 7.5 | DOL
19-PP-06 | CIL INTERSTAGE CARBON PUMP 5 | 7.5 | DOL
19-AG-09 | CIL TANK 6 AGITATOR | 55 | DOL
19-SC 04 | CIL INTERSTAGE SCREEN 1 | 5.5 | DOL
19-SC 05 | CIL INTERSTAGE SCREEN 2 | 5.5 | DOL
19-SC 06 | CIL INTERSTAGE SCREEN 3 | 5.5 | DOL
19-SC 07 | CIL INTERSTAGE SCREEN 4 | 5.5 | DOL
19-SC 08 | CIL INTERSTAGE SCREEN 5 | 5.5 | DOL
19-SC 09 | CIL INTERSTAGE SCREEN 6 | 5.5 | DOL
19-SC 10 | CIL INTERSTAGE SCREEN 7 | 11 | DOL
19-SC 11 | CIL INTERSTAGE SCREEN 8 | 11 | DOL
19-AG-10 | CIL TANK 7 AGITATOR | 55 | DOL
19-AG-11 | CIL TANK 8 AGITATOR | 55 | DOL
19-SC-12 | CIL BARREA CARBON SCREEN 1 | 1.87 | DOL
19-SC-13 | CIL BARREA CARBON SCREEN 2 | 1.87 | DOL
16-AG-55 | DEPRESSANT MIXING & STORAGE TANK AGITATOR | 2.2 | DOL
16-AG-56 | COLLECTOR MIXING AND STORAGE TANK AGITATOR | 2.2 | DOL
16-AG-57 | PROMOTER MIXING AND STORAGE AGITATOR | 2.2 | DOL
16-AG-60 | COPPER SULPHATE MIXING AND STORAGE TANK AGITATOR | 2.2 | DOL
16-AG-65 | DEPRESSANT MIXING & STORAGE TANK AGITATOR | 2.2 | DOL
16-AG-87 | PROMOTER MIXING AND STORAGE AGITATOR | 2.2 | DOL
16-AG-88 | COPPER SULPHATE MIXING AND STORAGE TANK AGITATOR | 2.2 | DOL
16-AG-104 | MASH MIXING TANK AGITATOR No 1 | 2.2 | DOL
16-AG-40 | INOCULIUM BUILD UP TANK AGITATOR | 0.7 | DOL
12-FA-10 | SAG MILL EXTERNAL AIR FAN | 11 | DOL
12-FA-11 | SAG MILL EXTERNAL AIR FAN | 11 | DOL
13-TH-02 | CONCENTRATE THICKNER AIR FAN | 5.5 | DOL
12-FA-13 | MILL SLIP RING AIR FAN | 1.5 | DOL
12-FA-14 | BALL MILL EXTERNAL AIR FAN | 11 | DOL
12-FA-15 | BALL MILL EXTERNAL AIR FAN | 11 | DOL
16-PP-230 | NASH AND FRONTHER SUMP PUMP | 5.5 | DOL
12-FA-17 | BALL MILL SLIP RING AIR FAN | 11 | DOL
12-PP-252 | BALL MILL GEAR BOX LUBE PUMP | 7 | DOL
23-PP-38 | REACTOR AREA SUMP PUMP TRAIN | 11 | DOL
13-PP-314 | CLEANER CONCENTRATE RECIRCULATION PUMP | 11 | DOL
13-PP-313 | CLEANER CONCENTRATE RECIRCULATION PUMP | 11 | DOL
16-PP-65 | DEPRESSANT TRANSFER PUMP | 15 | DOL
05-PP-517 | ELUATE TANK | 22 | DOL
05-PP-518 | ELUATE TANK | 5.5 | DOL
05-PP-519 | ELUATE TANK | 5.5 | DOL
05-SP-35 | SUMP PUMP | 4.5 | DOL
13-PP-241 | SPARGE WATER BOOSTER PUMP | 1.1 | DOL
05-PP-208 | ELUATE TANK | 22 | DOL
05-PP-209 | ELUATE TANK | 7.5 | DOL
05-PP-210 | ELUATE TANK | 5.5 | DOL
05-PP-283 | ELUATE TANK | 22 | DOL
05-PP-282 | ELUATE TANK | 7.5 | DOL
05-PP-310 | ELUATE TANK | 7.5 | DOL
05-PP-520 | ELUATE TANK | 7.5 | DOL
05-PP-521 | ELUATE TANK | 7.5 | DOL
16-PP-93 | PROMOTER TRANSFER PUMP | 0.18 | DOL
16-19-117 | COPPER SULPHATER TRANSFER PUMP | 0.25 | DOL
16-FA-05 | NASH VENTILATION FAN | 0.75 | DOL
16-AG-105 | NASH MIXING TANK AGITATOR | 22 | DOL
16-PP-84 | DEPRESSANT TRANSFER PUMP | 1.5 | DOL
23-CP-03 | BIOX AIR BLOWER | 1100 | AT
23-CP-04 | BIOX AIR BLOWER | 1100 | AT
23-CP-05 | BIOX AIR BLOWER | 1100 | AT
23-CP-06 | BIOX AIR BLOWER | 1100 | AT
23-CP-07 | BIOX AIR BLOWER | 1100 | AT
18-PP-03 | ROUGHER 1 CONCENTRATE PUMP | 37 | VSD
18-PP-04 | ROUGHER 2/3 CONCENTRATE PUMP | 15 | VSD
18-PP-05 | SCAVENGER CONCENTRATE PUMP | 55 | VSD
18-PP-01 | FLOATATION FEED PUMP 1 | 160 | VSD
18-SC-01A1B | FLOATATION FEED TRASH SCREEN 1 | 7.4 | DOL
18-SC-02A1B | FLOATATION FEED TRASH SCREEN 2 | 7.4 | DOL
18-PP-02 | FLOATATION FEED PUMP 2 | 160 | VSD
18-PP-06 | SCAVANGER TAILS PUMP 1 | 110 | VSD
18-PP-07 | SCAVENGER TAILS PUMP 2 | 110 | VSD
18-PP-08 | CLEANER CONCENTRATE PUMP | 30 | VSD
18-PP-09 | SCAVANGER CLEANER CONCENTRATE PUMP | 30 | VSD
18-PP-10 | SCAVENGER CLEANER TAILS PUMP 1 | 45 | VSD
18-PP-11 | SCAVENGER CLEANER TAILS PUMP 2 | 45 | VSD
18-SP-05 |  | 7.5 | DOL
18-SP-04 |  | 75 | DOL
18-BL-01 | FLOATATION AIR BLOWER 1 | 75 | DOL
18-PP-12 | FLOATATION AREA SUMP PUMPS | 11 | DOL
18-PP-14 | FLOATATION TAILS AREA SUMP PUMP | 11 | DOL
18-BL-02 | FLOTATION AREA AIR BLOWER 2 | 75 | DOL
18-AG-10 | CLEANER CELL 1 AGITATOR | 55 | DOL
18-AG-11 | CLEANER CELL 2 AGITATOR | 55 | DOL
18-AG-12 | SCAVENGER CLEANER CELL 1 AGITATOR | 55 | DOL
18-AG-14 | SCAVENGER CLEANER CELL 3 AGITATOR | 55 | DOL
18-AG-15 | SCAVENGER CLEANER CELL 4 AGITATOR | 55 | DOL
18-PP-01 | COLLECTOR DOZING PUMP 1 | 1.5 | DOL
18-PP-02 | COLLECTOR DOZING PUMP 2 | 1.5 | DOL
18-PP-03 | COLLECTOR DOZING PUMP 3 | 1.5 | DOL
18-PP-04 | COLLECTOR DOZING PUMP 4 | 1.5 | DOL
18-SP-01 |  | 75 | DOL
27-PP-801 | C15 FEED PUMMP 2 | 90 | DOL
28-PP-484 | TAILINGS STAGE 2 GLAND SEAL WATER PUMP 1 | 30 | DOL
28-PP-483 | TAILINGS STAGE 1 GLAND SEAL WATER PUMP 2 | 18.5 | DOL
28-PP-268 | PASTE PLANT SUMP PUMP 1 | 22 | DOL
28-EQ-010 | EQUIPPED SPARE | 90 | DOL
28-EQ-08 | EQUIPPED SPARE | 55 | DOL
17-PP-184 | POND 2 TRANSFER PUMP 2 | 132 | DOL
28-EQ-02 | EQUIPPED SPARE | 5 | DOL
17-PP-183 | POND 2 TRANSFER PUMP 1 | 132 | DOL
27-PP-800 | CIS FEED PUMP 1 | 110 | DOL
27-PP-848 | CIS FEED PUMP 3 | 110 | DOL
28-PP-499 | PASTE PLANT TRANSFER PUMP B ST 2 | 110 | DOL
28-PP-450 | PASTE PLANT TRANSFER PUMP B ST 3 | 110 | DOL
28-PP-448 | PASTE PLANT TRANSFER PUMP B ST 1 | 110 | DOL
28-PP-447 | PASTE PLANT TRANSFER PUMP A ST 3 | 132 | VSD
28-PP-411 | BIOX CIL TAIL THICK ULF PUMP 2 | 160 | VSD
28-PP-415 | FLOAT TAILS PUMP 2 STAGE 2 | 132 | VSD
28-PP-482 | TAILS UNGS STAGE 1 GLAND SEAL WATER PUMP | 18.5 | DOL
28-EQ-09 | EQUIPPED SPARE | 45 | DOL
28-PP-413 | FLOAT TAILS PUMP 2 STAGE 1 | 110 | DOL
28-PP-009 | EQUIPPED SPARE | 75 | DOL
28-PP-411 | BIOX CIL TAILINGS PUMP 1 STAGE 3 | 22 | VSD
28-PP-412 | FLOAT TAILS PUMP 1 STAGE 1 | 110 | DOL
28-PP-418 | BIOX CIL TAILINGS PUMP 1 STAGE 2 | 22 | DOL
28-PP-428 | BIOX TAILS SUMP PUMP 1 | 22 | DOL
28-PP-414 | FLOAT TAILS PUMP 1 STAGE 2 | 132 | VSD
28-HYD-001 | VALUE HYDROLIC PACK 1 | 132 | DOL
28-HYD-002 | VALUE HYDROLIC PACK 2 | 132 | DOL
28-TP-846 | BIOX TAILING SEEPAGE PUMP 1 | 132 | DOL
28-TH-401 | BIOX CIL TAILINGS THICKENER | 132 | DOL
28-PP-422 | BIOX CIL TAIL PUMP 1 ST 4 | 22 | DOL
28-PP-417
28-PP-445 | PASTE TRANSFER PLANT TRF PUMP ST 1 | 110 | DOL
28-PP-446 | PASTE PLANT TRANSFER PUMP ST 2 | 110 | DOL
28-PP-427
28-PP-421 | BIOX CIL TAIL PUMP ST 3 | 22 | VSD
28-AG-405 | PASTE PLANT STORAGE TANK AGITATOR | 75 | DOL
28-AG-402 | PASTE PLANT TO TANK ONE AGITATOR | 7.5 | DOL
28-AG-408 | AGITATOR | 5.5 | DOL
28-PP-438 | SUMP PUMP | 3 | DOL
28-PP-436 | FLOCCULANT DOZING PUMP 1 | 3 | VSD
28-PP-408 | PAST PLANT STORAGE TANK 2 REC PUMP | 45 | DOL
28-PP-265 | PORT WATER PUMP 3 | 11 | DOL
28-PP-407 | PASTE PLANT TANK 1 REC PUMP | 45 | DOL
28-PP-410 | BIOX CIL TAIL THICK ULF PUMP 1 | 160 | VSD
28-PP-38 | PORT WATER PUMP 1 | 11 | DOL
28-PP-39 | PORT WATER PUMP 2 | 11 | DOL
28-PP-402 | PASTE PLANT STORAGE TANK 1 AGITATOR | 775 | DOL
12-EQ-011 | EQUIPPED SPARE | 55 | DOL
11-CV-002 | CV 02 CONVEYOR | 30 | DOL
14-PP-175 | TAILS PUMP GCW BOOSTER PUMP 1 | 7.5 | DOL
12-PP-005 | MILL FEED END SUMP PUMP | 22 | DOL
12-PP-003 | MILL AREA SUMP PUMP | 22 | DOL
12-TH-003 | EQUIPPED SPARE | 7.5 | DOL
17-PP-180 | HEAT EXCH. WATER PUMP | 50 | DOL
17-PP-142 | RAW WATER PUMP | 132 | DOL
13-PP-145 | PROCESS WATER TANK PUMP | 150 | DOL
12-EQ-007 | EQUIPPED SPARE | 55 | DOL
17-PP-141 | RAW WATER PUMP 1 | 132 | DOL
13-PP-146 | PROCESS WATER TANK PUMP | 150 | DOL
13-PP-16 | FLOAT TAILS THICK ULF PUMP | 110 | DOL
13-PP-026 | CONC. THICK UPLOW PUMP 1 | 55 | VSD
13-PP-15 | FLOAT TAILS THICK ULF PUMP | 110 | VSD
13-PP-117 | COPPER SULPHATE DOZING PUMP PUMP | 1.5 | VSD
16-AG-060 | CONC. MIXING TANK AGITATOR | 2.2 | DOL
13-PP-025 | CONC. THICKNER SUMP PUMP | 5.5 | DOL
17-PP-071 | SUMP PUMP COMPRESSOR AREA | 11 | DOL
12-PP-004 | MILL AREA SUMP PUMP | 22 | DOL
12-EQ-014 | EQUIPPED SPARE | 75 | DOL
13-PP-217 | REGRIND AREA GSW BOOSTER PUMP 1 | 5.5 | DOL
13-PP-218 | REGRIND AREA GSW BOOSTER PUMP 2 | 5.5 | DOL
14-PP-176 | TAILS PUMPING GSW BOOSTER PUMP 2 | 7.5 | DOL
13-PP-05 |  | 15 | DOL
12-EQ-010 | EQUIPPED SPARE | 22 | DOL
13-PP-152 |  | 45 | DOL
13-TH-001 | FLOAT TAILS THICKNER | 11 | DOL
13-PP-192 | RAW WATER BOOST PUMP | 45 | DOL
13-PP-102 | CIL SO2 DOZING PUMP DUTY | 1.5 | VSD
16-PP-121 | TAILINGS FLOC AREA SUMP PUMP | 7.5 | DOL
17-PP-181 | HAET EACH WATER PUMP 2 | 50 | DOL
16-PP-189 | CONC THICK FLOC PUMP STANDBY | 3 | VSD
16-PP-123 | CONC THICK FLOC PUMP DUTY | 3 | VSD
16-PP-188 | TAIL THICK FLOC PUMP STANDBY | 5.5 | VSD
16-PP-147 | TAIL THICK FLOC PUMP DUTY | 5.5 | VSD
12-PP-87 | COMPRESSOR PUMP | 5.5 | DOL
12-EQ-027 | EQUIPPED SPARE | 55 | DOL
12-PP-809 | BALL MILL 1 CONDUCTING LP PUMP 1 | 2.2 | DOL
12-PP-810 | BALL MILL 1 CONDUCTING LP PUMP 2 | 2.2 | DOL
12-PP-814 | BALL MILL GEARBOX OIL LP PUMP 2 | 11 | DOL
12-HX-819 | BALL MILL GEARBOX TANK HEATER ELEMENT 1 | 3 | DOL
12-HX-820 | BALL MILL GEARBOX TANK HEATER ELEMENT 2 | 3 | DOL
12-FA-800 | BALL MILL 1 WOLING FAN 1 | 7.5 | DOL
12-FA-801 | BALL MILL 1 WOLING FAN 2 | 1.5 | DOL
12-FA-802 | BALL MILL 1 WOLING FAN 3 | 9 | DOL
12-FA-802 | BALL MILL 1 WOLING FAN 4 | 9 | DOL
12-FA-804 | BALL MILL 1 AIRBLAST COOLER MOTOR | 4 | DOL
12-PP-811 | BALL MILL 1 FE HEARING LP OIL PUMP | 1.1 | DOL
13-PP-090 | REGRIND MILL DISCHARGE PUMP 1 | 55 | VSD
13-PP-091 | REGRIND MILL DISCHARGE PUMP 2 | 55 | VSD
13-PP-707 | PROCESS WATER DRAIN PUMP | 22 | DOL
12-HX-821 | BALL MILL GEARBOX TANK HEATER ELEMENT | 3 | DOL
12-PP-359 | ILR TAILINGS SOLUTION TRANSFER PUMP | 4.5 | DOL
12-PP-355 | ILR TAILINGS SOLUTION TRANSFER PUMP | 4.5 | DOL
06-PP-707 | ILR TAILINGS SOLUTION TRANSFER PUMP | 4.5 | DOL
16-PP-100 | PROMOTER DRUM PUMP FLAST FLOATATION | 1.1 | DOL
11-PP-513 | CV02 TAIL END SUMP PUMP | 5 | DOL
13-PP-701 | REGRING MILL SUMP PUMP | 11 | DOL
16-PP-095 | FRONTHER DOZING PUMP 1 FLASH FLOATATION | 1.5 | VSD
16-PP-92 | PROMOTER DOZING PUMP 1 FLASH FLOATATION | 1.5 | VSD
16-PP-087 | FLASH FLOAT REAGENT AREA SUMP PUMP | 7.5 | DOL
12-PP-356 | IRL 1000 SUMP PUMP | 11 | DOL
12-PP-358 | IRL TAILINGS WASH TRANSFER PUMP | 4.5 | DOL
12-PP-502 | KNELSON WATER FEED PUMP 1 | 75 | DOL
12-PP-504 | KNELSON WATER FEED PUMP 2 | 75 | DOL
12-PP-512 | GRAVITY AREA SUMP PUMP | 15 | DOL
12-EQ-022 | EQUIPPED SPARE | 5.5 | DOL
12-EQ-028 | EQUIPPED SPARE | 75 | DOL
12-PP-714 | SAG MILL 1 GEARBOX OIL LP PUMP 2 | 11 | DOL
12-HX-717 | SAG MILL 1 GEARBOX TANK HEATER ELEMENT 1 | 30 | DOL
12-HX-713 | SAG MILL 1 GEARBOX TANK HEATER ELEMENT 2 | 30 | DOL
12-HX-719 | SAG MILL 1 GEARBOX TANK HEATER ELEMENT 3 | 30 | DOL
12-FA-704 | SAQG MILL 1 AIRBLAST COOLER MOTOR | 4 | DOL
12-PP-711 | SAG MILL 1 FE BEARING LP OIL PUMP 1 | 1.1 | DOL
12-PP-712 | SAG MILL 1 FE BEARING LP OIL PUMP 2 | 1.1 | DOL
12-HX-723 | SAG MILL 1 TRINION TANK HEATER ELEMENT 1 | 3 | DOL
12-HX-724 | SAG MILL 1 TRINION TANK HEATER ELEMENT 2 | 3 | DOL
12-PP-713 | SAG MILL 1 GEARBOX OIL LP PUMP 1 | 11 | DOL
12-FA-706 | SAG MILL 1 COOLING FAN 1 | 7.5 | DOL
12-FA-702 | SAG MILL 1 COOLING FAN 2 | 9 | DOL
12-PP-709 |  | 22 | DOL
12-SA-002B | FLASH FLOATATION CONCENTRATE SUMP | 0.4 | DOL
13-XM-7 | HYDROLIC PACK REGRIND LUBE PUMP | 7.5 | DOL
16-PP-084 | FRONTER DRUM PUMP FLASH FLOATATION | 1.1 | DOL
12-HT-014 | PRIMARY CYCLONE DAINT CRANE | 3 | DOL
16-PP-124 | IILR COPPER SULPHATE DOZIING PUMP | 1.5 | VSD
16-PP-088 | COLLECTOR DOZING PUMP | 1.1 | VSD
12-SC-511 | ILR TRADINGS WASH SCREEN | 3 | DOL
06-SC-301 | ILR TRADINGS WASH SCREEN | 3 | DOL
12-EQ-019 | EQUIPPED SPARE | 30 | DOL
13-HE-001 | REGRIND MILL MOTOR SPACE HEATER | 0.3 | DOL
17-CP-026 | FLASH FLOATTATION AIR BLOWER 1 | 4 | DOL
12-EQ-017 | EQUIPPED SPARE | 15 | DOL
12-EQ-018 | EQUIPPED SPARE | 15 | DOL
12-CP-001 |  | 7.5 | DOL
12-EQ-20 | EQUIPPED SPARE | 55 | DOL
12-PP-357 | ILR TAILS TRANSFER PUMP | 15 | DOL
12-PP-513 | ILR RECIRCULATION PUMP | 15 | DOL
16-PP-093 | PROMOTER DOZING PUMP 2 FLASH FLOATATION | 1.5 | DOL
16-PP-096 | FRONTHER DOZING PUMP 2 FLASH FLOATATION | 1.5 | DOL
17-CP-027 | FLASH FLOATATION AIR BLOWER 2 | 4 | DOL
12-EQ-015 | EQUIPPED SPARE | 5.5 | DOL
12-XM-050 | SAG MILL 1 BALL LOADER | 0.3 | DOL
11-FE-005 | VIBRATING FEEDER N.5 | 5 | VSD
11-FE-003 | VIBRATING FEEDER N.3 | 5 | VSD
12-FT-002 | FLASH CELL 1 | 7.5 | DOL
12-GC-002 | KNELSON CONCENTRATOR | 75 | DOL
12-ML-001A | SAG MILL INCHING DRIVE | 45 | DOL
16-HT-012 | COLLECTOR MIXING HOIST | 3 | DOL
16-AG-053 | COLLECTOR MIXING TANK AGITATOR | 3 | DOL
16-PP-89 | COLLECTOR DOZING PUMP 2 | 1.5 | VSD
12-SC-510 | SCALPING SCREEN 1 | 9 | DOL
12-PP-710 | SQAG MILL 7 CONDUCTING LP PUMP 2 | 2.2 | DOL
12-HX-817 | BALL MILL 1 TRINION TANK ELEMENT 1 | 3 | DOL
12-HX-813 | BALL MILL 1 TRINION TANK ELEMENT 2 | 3 | DOL
12-PP-813 | BALL MILL 1 GEARBOX 04 LP PUMP 1 | 11 | DOL
11-FE-004 | VIBRATING FEEDER | 11 | VSD
12-EQ-025 | EQUIPPED SPARE | 15 | DOL
13-XM-008 | REGRIND MILL REDUCER LUBE SYSTEM FAN | 7.5 | DOL
13-FT-003 | FLASH CELL 3 | 75 | DOL
12-EQ-24 | EQUIPPED SPARE | 15 | DOL
12-FT-001 | FLASH CELL 1 | 75 | DOL
12-ML-002A | BALL MILLO 1 INCHING DRIVE | 45 | DOL
13-PP-005 | FLOAT TAILS THICKNER AREA SUMP PUMP
13-GC-003 | KNELSON CONCENTRATOR # 3 | 75 | DOL
12-GC-001 | KNELSON CONCENTRATOR # 1 | 75 | DOL
12-EQ-023 | EQUIPPED SPARE | 5.5 | DOL
12-EQ-026 | EQUIPPED SPARE | 30 | DOL
12-HE-002 | REGRIND MILL REDUCER LUBE HEATER | 23 | DOL
12-SA-002 | FLASH FLOATATION CONCENTRATE SAMPLER | 0.4 | DOL
12-PP-812 | BALL MILL 1 FE BEARING LP OIL PUMP | 1.1 | DOL
16-PP-116 | COLLECTER MIXING TRANSFER PUMP | 1.1 | DOL
14-EQ-007 | EQUIPPED SPARE | 18.5 | DOL
20-FO-001 |  | 7.5 | DOL
14-EQ-004 | EQUIPPED SPARE | 5.5 | DOL
14-EQ-003 | EQUIPPED SPARE | 5.5 | DOL
14-EQ-002 | EQUIPPED SPARE | 5.5 | DOL
14-EQ-001 | EQUIPPED SPARE | 5.5 | DOL
16-PP-81A | COUSTIC DOSING PUMP 1 | 3 | VSD
16-PP-81B | COUSTIC DOSING PUMP 2 | 3 | VSD
15-PP-010 | CARBON TRANSFER PUMP 1 | 22 | DOL
15-PP-XXX | REGENERATION AREA SUMP PUMP | 7.5 | DOL
20-PP-008 | REFINERY AREA SUMP PUMP | 7.5 | DOL
20-PP-004 | ILR PREGNANT SOL PUMP NO. 2 | 5.5 | VSD
20-PP-003 | ILR PREGNANT SOL PUMP NO. 1 | 5.5 | VSD
20-PP-002 | PREGNANT ELUATE PUMP NO. 2 | 11 | VSD
20-PP-001 | PREGNANT ELUATE PUMP NO. 1 | 11 | VSD
20-FAN-001 | ELECTROWINNING CELLS AND DRYING OVERFAN | 3 | DOL
20-FL-001 | GOLDROOM FILTER PRES | 0.37 | DOL
15-SC-002 | CARBON RECOVERY SCREEN 1 | 0.37 | DOL
15-SC-003 | CARBON RECOVERY SCREEN 2 | 0.37 | DOL
23-AG-046 | NEUT. TANK 46 AGITATOR | 22 | DOL
23-AG-045 | NEUT. TANK 45 AGITATOR | 22 | DOL
23-AG-044 | NEUT. TANK 44 AGITATOR | 22 | DOL
23-AG-043 | NEUT. TANK 43 AGITATOR | 22 | DOL
23-AG-042 | NEUT. TANK 42 AGITATOR | 22 | DOL
23-AG-041 | NEUT. TANK 41 AGITATOR | 22 | DOL
16-AG-040 | CAUSTIC MIXNG AGITATOR | 18.5 | DOL
15-PP-266A | HOT OIL PUMP 1 | 1.1 | DOL
15-PP-266B | HOT OIL PUMP 2 | 1.1 | DOL
14-PP-020A | NEUTRALIZATION TAILS PUMP | 160 | VSD
20-HT-002 | REFINERY HOIST | 30 | DOL
14-EQ-12 | EQUIPPED SPARE | 55 | DOL
20-FA-03 | REFINERY VENT FAN | 7.5 | DOL
20-PP-011 | BARREN SOIL INTER TRANSFER PUMP | 1.1 | DOL
20-PP-007 | TANK FARM SPILLAGE PUMP | 11 | DOL
14-PP-02D | NEUTRALIZATION TAILS PUMP 2 | 160 | VSD
15-FE-002 | KILN SCREEW FEEDER NO.2 | 5.5 | DOL
15-FE-001 | KILN SCREEW FEEDER NO.1 | 5.5 | DOL
15-FA-XXX | KILN 2 SCRUBBER FAN | 7.5 | DOL
15-FA-12 | KILN 1 SCRUBBER FAN | 7.5 | DOL
16-AG-063 | CAUSTIC MIXNG TANK AGITATOR | 18.5 | DOL
15-SC-004 | BARREN CARBON DEW SCREEN 2 | 5.5 | DOL
15-XM-002 | KILN EXHAUST STACK | 1 | DOL
15-SC-001 | BARREN CARBON DEW SCREEN | 5.5 | DOL
13-PP-021 | FLOAT THICKNER TAILS PUMP 2 | 220 | VSD
20-PP-012 | BARREN SOIL INTER TRANSFER PUMP 2 | 15 | VSD
13-PP-022 | FLOAT THICKNER TAILS PUMP 2 | 220 | VSD
20-FA-002 | FURNACE AND FLUX MIXING EXHAUST FAN | 30.5 | DOL
13-PP-003 | PREGNANT ELUATE PUMP NO. 1 | 5.5 | DOL
15-PP-075B | STRIP SOLUTIONS PUMP 2 | 22 | VSD
16-PP-042 | CAUSTIC SPILLAGE PUMP | 3 | DOL
16-PP-074 | CAUSTIC DOSING PUMP 5 | 3 | DOL
15-PP-010 | CARBON TRANSFER PUMP NO. 1 | 22 | DOL
15-PP-008 | BARREN SOLUTION PUMP 2 | 5.5 | DOL
15-PP-007 | BARREN SOLUTION PUMP 1 | 5.5 | DOL
15-PP-004 | ILR PREGNANT SOLUTION PUMP | 3 | DOL
15-PP-015 | REGENERATION AREA SUMP PUMP | 7.5 | DOL
19-PP-019 | CIL ACID AREA SUMP PUMP 2 | 5.5 | DOL
15-PP-012 | DESCRIPTION AREA SUMP PUMP | 7.5 | DOL
16-PP-073 | CAUSTIC DOZING PUMP 4 | 3 | DOL
23-PP-021A | NEUTRALIZATION TAILS PUMP 2 | 315 | VSD
20-PP-601 | BARREN TANK AREA SPILLAGE PUMP | 7.5 | DOL